## 1. Commitment letter
Tender for Frame Agreement
RFT GVA22/00188 | Online Ordering services for Electrical Items
All information provided by the supplier is this document are for internal use only and strictly confidential
The Suppliers will commit themselves to supply under the Frame Agreement only Electrical items distributed only in their own distribution centers.
GENERAL INFORMATION
1.1 Legal capacity
Company name
Contact person & Position
Country of establishment
Date of establishment
 Location of registered office and Company headquarter
Shareholder Structure | Legal form & ownership (group, holding... if any)
Subsidiaries & partnerships
Company type | Distributor / Trader
1.2 Financial capacity
Financial information | 2021 turnover
%Distribution activity
% Distribution of Electrical Items
2020 turnover
2019 turnover
1.3 Technical capacity
Distribution network & geographical coverage | List of the distribution center(s)
Size/Share of the different locations (%annual turnover)
References | TOP 3 major customers by value
Motivation | Briefly describe your interest in becoming a supplier of the ICRC
1.4 QSE initiative
Quality Assurance | ISO 9001 or equivalent to be attached
Environmental Assurance | ISO 14001 or equivalent to be attached
Social Assurance | ISO 18001 or equivalent to be attached
Quality Assurance | Any other valid quality certificate received from inspection companies
Bidder's name, title & signature |  | Comment

## 2. Technical Offer
Tender for Frame Agreement
RFT GVA22/00188 | Online Ordering services for Electrical Items
All information provided by the supplier in this document are for internal use only and strictly confidential
The Suppliers will commit themselves to supply under the Frame Agreement only Electrical items distributed only in their own distribution centers.
GENEVA DISTRIBUTION CAPACITY
2.1 Closest premises to ICRC Meyrin, Geneva
Geneva Capacity | Name and full physical address of Geneva closest facility
Website | Online Address
Workforce | number of people
Global catalogue | Total number of item references
| % discount of global catalogue |  | Attach a list of % discount per group price
Briefly describe how the discount will appear on your website
ICRC standard List specific catalogue | capacity to create a specific catalogue by importing all the references of the Standard List |  | yes/NO
Storage value | Total value of stock in the closest facility
Total value of stock in your region
Total value of stock in your country
Delivery time - Leadtime readiness | Standard List reserved stock at supplier premises | Please clearly state the minimum leadtime for availing the items |  | Working days
| Item without reserved stock | Please clearly state the minimum leadtime for availing the items |  | Working days
Contacts | Contact person for support
After sale service | Description of processes in the event of non-compliance / claim
2.2 Commercial additional information
Transport costs | Transport price per pallet max height 160cm, DAP Satigny
Please state if there is any additional cost for small orders or transport fees not included
Bidder's name, title & signature |  |  | Comment

## 3. Standard List - Price Table
RFT GVA22/00188 |  | Tender for Frame Agreement |  | All information provided by the supplier is this document are for internal use only and strictly confidential | [7 empty] | Offer must remain valid until December 31, 2022
|  | Online Ordering services for Electrical Items |  | Offer must remain valid until 90 days after Tender closing date | [7 empty] | Please state your sales prices without VAT
N° | Family | ELDAS-No | Description FR | Description EN | Manufacturer Fabricant | Ref Manuf. Fabricant | Alternative product (if applicable) Manuf + ref | Supplier Min Order Qty (MOQ) | UoM | Estimated Annual Qty | Reserved stock level | Country of Origin | Harmonized System (HS) Code | Export restrictions Yes / No | Number of Price Group | Currency | Public Unit Price (per UoM) incoterm FCA | Discount % age | ICRC Unit Price (per UoM) incoterm FCA | Specifications website link and Photo
1 | Protect | 806010010 | Disjoncteur 1P 1A, courbe B, 6 KA | Circuit breaker 1P 1A, curve B, 6 KA | Schneider | A9F83101 |  |  | EA | 72 | 7
2 | Protect | 805012010 | Disjoncteur 1P 2A, courbe B, 6 KA | Circuit breaker 1P 2A, curve B, 6 KA | Schneider | A9F73102 |  |  | EA | 150 | 15
3 | Protect | 805018010 | Disjoncteur 1P 10A, courbe B, 6 KA | Circuit breaker 1P 10A, curve B, 6 KA | Schneider | A9F73110 |  |  | EA | 766 | 76
4 | Protect | 805029010 | Disjoncteur 1P 13A, courbe B, 6 KA | Circuit breaker 1P 13A, curve B, 6 KA | Schneider | A9F73113 |  |  | EA | 36 | 4
5 | Protect | 805019010 | Disjoncteur 1P 16A, courbe B, 6 KA | Circuit breaker 1P 16A, curve B, 6 KA | Schneider | A9F73116 |  |  | EA | 1362 | 136
6 | Protect | 805020010 | Disjoncteur 1P 20A, courbe B, 6 KA | Circuit breaker 1P 20A, curve B, 6 KA | Schneider | A9F73120 |  |  | EA | 916 | 91
7 | Protect | 805021010 | Disjoncteur 1P 25A, courbe B, 6 KA | Circuit breaker 1P 25A, curve B, 6 KA | Schneider | A9F73125 |  |  | EA | 168 | 16
8 | Protect | 806022010 | Disjoncteur 1P 32A, courbe B, 10 KA | Circuit breaker 1P 32A, curve B, 10 KA | Schneider | A9F83132 |  |  | EA | 72 | 7
9 | Protect | 805048050 | Disjoncteur 1P+N 10A, courbe B, 6 KA | Circuit breaker 1P+N 10 A, curve B, 6 KA | Schneider | A9F73610 |  |  | EA | 16 | 1
10 | Protect | 805059050 | Disjoncteur 1P+N 13A, courbe B, 6 KA | Circuit breaker 1P+N 13 A, curve B, 6 KA | Schneider | A9F73613 |  |  | EA | 10 | 1
11 | Protect | 805049050 | Disjoncteur 1P+N 16A, courbe B, 6 KA | Circuit breaker 1P+N 16 A, curve B, 6 KA | Schneider | A9F73616 |  |  | EA | 60 | 6
12 | Protect | 805050050 | Disjoncteur 1P+N 20A, courbe B, 6 KA | Circuit breaker 1P+N 20 A, curve B, 6 KA | Schneider | A9F73620 |  |  | EA | 120 | 12
13 | Protect | 805051050 | Disjoncteur 1P+N 25A, courbe B, 6 KA | Circuit breaker 1P+N 25 A, curve B, 6 KA | Schneider | A9F73625 |  |  | EA | 60 | 6
14 | Protect | 805052050 | Disjoncteur 1P+N 32A, courbe B, 6 KA | Circuit breaker 1P+N 32 A, curve B, 6 KA | Schneider | A9F73632 |  |  | EA | 72 | 7
15 | Protect | 805053050 | Disjoncteur 1P+N 40A, courbe B,6 KA | Circuit breaker 1P+N 40 A, curve B, 6 KA | Schneider | A9F73640 |  |  | EA | 84 | 8
16 | Protect | 805054050 | Disjoncteur 1P+N 50A, courbe B, 6 KA | Circuit breaker 1P+N 50 A, curve B, 6 KA | Schneider | A9F73650 |  |  | EA | 12 | 1
17 | Protect | 805079010 | Disjoncteur 3P 16A, courbe B, 6 KA | Circuit breaker 3P 16 A, curve B, 6 KA | Schneider | A9F73316 |  |  | EA | 16 | 1
18 | Protect | 805080010 | Disjoncteur 3P 20A, courbe B, 6 KA | Circuit breaker 3P 20 A, curve B, 6 KA | Schneider | A9F73320 |  |  | EA | 16 | 1
19 | Protect | 805081010 | Disjoncteur 3 P 25A, courbe B, 6 KA | Circuit breaker 3P 25 A, curve B, 6 KA | Schneider | A9F73325 |  |  | EA | 16 | 1
20 | Protect | 805082010 | Disjoncteur 3P 32A, courbe B, 6 KA | Circuit breaker 3P 32 A, curve B, 6 KA | Schneider | A9F73332 |  |  | EA | 40 | 4
21 | Protect | 805083010 | Disjoncteur 3P 40A, courbe B, 6 KA | Circuit breaker 3P 40A, curve B, 6 KA | Schneider | A9F73340 |  |  | EA | 30 | 3
22 | Protect | 805084010 | Disjoncteur 3P 50A, courbe B, 6 KA | Circuit breaker 3P 50A, curve B, 6 KA | Schneider | A9F73350 |  |  | EA | 30 | 3
23 | Protect | 805085010 | Disjoncteur 3P 63A, courbe B, 6 KA | Circuit breaker 3P 63A, curve B, 6 KA | Schneider | A9F73363 |  |  | EA | 54 | 5
24 | Protect | 805078020 | Disjoncteur 4P 10A, courbe B, 6 KA | Circuit breaker 4P 10A, curve B, 6 KA | Schneider | A9F73410 |  |  | EA | 16 | 1
25 | Protect | 805079020 | Disjoncteur 4P 16A, courbe B, 6 KA | Circuit breaker 4P 16A, curve B, 6 KA | Schneider | A9F73416 |  |  | EA | 99 | 10
26 | Protect | 805080020 | Disjoncteur 4P 20A, courbe B, 6 KA | Circuit breaker 4P 20A, curve B, 6 KA | Schneider | A9F73420 |  |  | EA | 81 | 8
27 | Protect | 805081020 | Disjoncteur 4P 25A, courbe B, 6 KA | Circuit breaker 4P 25A, curve B, 6 KA | Schneider | A9F73425 |  |  | EA | 96 | 9
28 | Protect | 805082020 | Disjoncteur 4P 32A, courbe B, 6 KA | Circuit breaker 4P 32A, curve B, 6 KA | Schneider | A9F73432 |  |  | EA | 81 | 8
29 | Protect | 805083020 | Disjoncteur 4P 40A, courbe B, 6 KA | Circuit breaker 4P 40 A, curve B, 6 KA | Schneider | A9F73440 |  |  | EA | 49 | 5
30 | Protect | 805084020 | Disjoncteur 4P 50A, courbe B, 6 KA | Circuit breaker 4P 50 A, curve B, 6 KA | Schneider | A9F73450 |  |  | EA | 45 | 4
31 | Protect | 805085020 | Disjoncteur 4P 63A, courbe B, 6 KA | Circuit breaker 4P 63A, curve B, 6 KA | Schneider | A9F73463 |  |  | EA | 81 | 8
32 | Protect | 806120010 | Disjoncteur 1P 20A, courbe C, 10 KA | Circuit Breaker 1P 20A, curve C, 10 KA | Schneider | A9F84120 |  |  | EA | 114 | 11
33 | Protect | 806179010 | Disjoncteur 3P 16A, courbe C, 10 KA | Circuit breaker 3P 16A, curve C, 10 KA | Schneider | A9F84316 |  |  | EA | 10 | 1
34 | Protect | 806180010 | Disjoncteur 3P 20A, courbe C, 10 KA | Circuit breaker 3P 20A, curve C, 10 KA | Schneider | A9F84320 |  |  | EA | 12 | 1
35 | Protect | 806181010 | Disjoncteur 3P 25A, courbe C, 10 KA | Circuit breaker 3P 25A, curve C, 10 KA | Schneider | A9F84325 |  |  | EA | 24 | 2
36 | Protect | 806184010 | Disjoncteur 3P 50A, courbe C, 10 KA | Circuit breaker 3P 50A, curve C,10 KA | Schneider | A9F84350 |  |  | EA | 12 | 1
37 | Protect | 806179020 | Disjoncteur 4P 16 A, courbe C, 10 KA | Circuit breaker 4P 16A, curve C, 10 KA | Schneider | A9F84416 |  |  | EA | 66 | 7
38 | Protect | 806180020 | Disjoncteur 4P 20 A, courbe C, 10 KA | Circuit breaker 4P 20A, curve C, 10 KA | Schneider | A9F84420 |  |  | EA | 16 | 1
39 | Protect | 806181020 | Disjoncteur 4P 25 A, courbe C, 10 KA | Circuit breaker 4P 25A, curve C, 10 KA | Schneider | A9F84425 |  |  | EA | 16 | 1
40 | Protect | 806183020 | Disjoncteur 4P 40 A, courbe C, 10 KA | Circuit breaker 4P 40A, curve C, 10 KA | Schneider | A9F84440 |  |  | EA | 120 | 12
41 | Protect | 806184020 | Disjoncteur 4P 50 A, courbe C, 10 KA | Circuit breaker 4P 50A, curve C, 10 KA | Schneider | A9F84450 |  |  | EA | 42 | 4
42 | Protect | 806185020 | Disjoncteur 4P 63 A, courbe C, 10 KA | Circuit breaker 4P 63A, curve C, 10 KA | Schneider | A9F84463 |  |  | EA | 122 | 12
43 | Protect | 806186400 | Disjoncteur 4P 80 A, courbe C, 15 KA, C120 | Circuit breaker 4P 80A, curve C, 15 KA, C120 | Schneider | A9N18479 |  |  | EA | 38 | 4
44 | Protect | 806187400 | Disjoncteur 4P 100 A, courbe C, 15 KA, C120 | Circuit breaker 4P 100A, curve C, 15 KA, C120 | Schneider | A9N18480 |  |  | EA | 16 | 1
45 | Protect | 501250441 | Disjoncteur général 40kA 4P 80A, mont. rail profilée | MCCB 40kA 4P 80A, DIN rail mount. | Hager | HNA081H |  |  | EA | 67 | 7
46 | Protect | 501250451 | Disjoncteur général 40kA 4P 100A, mont. rail profilée | MCCB 40kA 4P 100A, DIN rail mount | Hager | HNA101H |  |  | EA | 40 | 4
47 | Protect | 501250461 | Disjoncteur général 40kA 4P 125A, mont. rail profilée | MCCB 40kA 4P 125A, DIN rail mount | Hager | HNB126H |  |  | EA | 21 | 2
48 | Protect | 501250471 | Disjoncteur général 40kA 4P 160A, mont. rail profilée | MCCB 40kA 4P 160A, DIN rail mount | Hager | HNA161H |  |  | EA | 19 | 1
49 | Protect | 501252460 | Disjoncteur général 40kA 4P 250A, mont. a vis | MCCB 40kA 4P 250A, screw mount | Hager | HNB251H |  |  | EA | 16 | 1
50 | Protect | 531023310 | Interrupteur différentiel 2P 25 A 30 mA | RCD 2P 25 A 30 mA | Schneider | A9R21225 |  |  | EA | 20 | 2
51 | Protect | 531033310 | Interrupteur différentiel 2P 40 A 30 mA | RCD 2P 40 A 30 mA | Schneider | A9R21240 |  |  | EA | 126 | 13
52 | Protect | 531043310 | Interrupteur différentiel 2P 63 A 30 mA | RCD 2P 63 A 30 mA | Schneider | A9R21263 |  |  | EA | 294 | 29
53 | Protect | 531043410 | Interrupteur différentiel 4P 63 A 30 mA | RCD 4P 63 A 30 mA | Schneider | A9R21463 |  |  | EA | 320 | 32
54 | Protect | 806049300 | Disjoncteur différ. 1P+N, 30mA, 16A, courbe B | Curcuitbreaker/RCBO 1P+N 30mA 16A, curve B | Schneider | A9D07616 |  |  | EA | 94 | 9
55 | Protect | 531046070 | Interrupteur différentiel 4P 63 A 300 mA | RCD 4P 63 A 300 mA | Schneider | A9R24463 |  |  | EA | 54 | 5
56 | Protect | 808424314 | Parasurt. type I combi TT, 4P | Lightning arr. type I, combi TT, 4P | Hager | J SPN802 R |  |  | EA | 37 | 4
57 | Protect | 808421304 | Parasurt. type I combi TT/TN, 1P | Lightning arr. type I, combi TT/TN, 1P | Hager | SPN180 |  |  | EA | 15 | 1
58 | Protect | 808429024 | Module de rech. Parasurt. type I L (pour 3P et 4P) | Repl. cartridge Lightning arr. type I L (for 3P and 4P) | Hager | J SPN080 |  |  | EA | 72 | 7
59 | Protect | 808429014 | Module de rech. Parasurt. type I N (pour 4P) | Repl. cartridge Lightning arr. type I N (for 4P) | Hager | J SPN080 N |  |  | EA | 68 | 7
60 | Protect | 808510709 | Parasurt. type II, 4P, TNS, TT, avec disjoncteur tête | Surge arr. type II, 4P, TNS, TT, w. precircuitbreaker | Schneider | A9L16294 |  |  | EA | 20 | 2
61 | Protect | 808510509 | Parasurt. type II, 2P, TNS,TT, avec disjoncteur tête | Surge arr. type II, 2P, TNS, w. precircuitbreaker | Schneider | A9L16292 |  |  | EA | 16 | 1
62 | Protect | 808527509 | Module de rech. Parasurt. type II P | Repl. cartridge Lightning arr. type II P | Schneider | A9L16310 |  |  | EA | 96 | 9
63 | Protect | 808525509 | Module de rech. Parasurt. type II N | Repl. cartridge Lightning arr. type II N | Schneider | A9L16313 |  |  | EA | 72 | 7
64 | Protect | 808414024 | Parasurt. type II, 4P, TNS | Surge arr. type II, 4P, for TNS | Hager | SPN415 |  |  | EA | 12 | 1
65 | Protect | 808414624 | Parasurt. type II, 4P, TT | Surge arr. type II, 4P, for TT | Hager | SPN418 |  |  | EA | 64 | 6
66 | Protect | 808490014 | Cartouche pr.parafoudre Hager pour TN-C-S | Repl. cartridge Lightning arr. TN-C-S | Hager | SPN015 |  |  | EA | 60 | 6
67 | Protect | 808422011 | Parasurt. type II, 2P, TT | Surge arr. type II, 2P, for TT | Legrand | 412244 |  |  | EA | 54 | 5
68 | Protect | 808490061 | Module de rech. Parasurt. type II TT | Repl. cartridge surge arr. type II TT | Legrand | 412299 |  |  | EA | 59 | 6
69 | Protect | 808401019 | Parasurt. type III, 2P, TN, TT (mont. a appareil) | Surge arr. type III, 2P, for TN, TT (inst. at equipm.) | DEHN | 924396 |  |  | EA | 18 | 1
70 | Protect | 805999330 | Peigne de racc. 1P, 12 Disj. 220 mm | phase rail 1P, 12 CB, 220 mm | Schneider | A9XPH112 |  |  | EA | 227 | 23
71 | Protect | 805999340 | Peigne de racc. 2P, 6 Disj. 220 mm | phase rail 2P, 6 CB, 220 mm | Schneider | A9XPH212 |  |  | EA | 80 | 8
72 | Protect | 805999350 | Peigne de racc. 3P, 4 Disj. 220 mm | phase rail 3P, 4 CB, 220 mm | Schneider | A9XPH312 |  |  | EA | 37 | 4
73 | Protect | 805999360 | Peigne de racc. 4P, 3 Disj. 220 mm (L1,L2,L3,N…) | phase rail 4P, 3 CB, 220 mm (L1,L2,L3,N…) | Schneider | A9XPH412 |  |  | EA | 88 | 9
74 | Protect | 806998110 | Peigne de racc. 3P+N, 6 Disj. 220 mm (L1+N,L2+N,L3+N…) | phase rail 3P, 6 CB, 220 mm (L1+N,L2+N,L3+N…) | Schneider | A9XPH512 |  |  | EA | 60 | 6
75 | Protect | 804998360 | Recouvrement pour peignes 2P (boit à 40 pcs) | end cover for phase rails 2P (box with 40 pcs) | Schneider | 21094 |  |  | EA | 55 | 6
76 | Protect | 804998380 | Recouvrement pour peignes 4P (boit à 40 pcs) | end cover for phase rails 4P (box with 40 pcs) | Schneider | 21095 |  |  | EA | 55 | 6
77 | Protect | 550899170 | Peigne de racc. pour C120, 3P, 5 Disj. 405mm | phase rail for C120, 3P, 5 CB, 405mm | Schneider | 14813 |  |  | EA | 306 | 31
78 | Protect | 550899190 | Peigne de racc. pour C120, 4P, 4 Disj. 432mm (L1,L2,L3,N…) | phase rail for C120, 4P, 4 CB, 432mm (L1,L2,L3,N…) | Schneider | 14814 |  |  | EA | 16 | 1
79 | Control | 550435110 | Inverseur de charge 415 V, barre DIN, 40 A, 4P | Manual change-over switch, DIN rail, 4P 40 A, 415 V | Hager | HIM404 |  |  | EA | 15 | 1
80 | Control | 550435210 | Inverseur de charge 415 V, barre DIN, 63 A, 4P | Manual change-over switch, DIN rail, 4P 63 A, 415 V | Hager | HIM406 |  |  | EA | 15 | 1
81 | Control | 550435310 | Inverseur de charge 415 V, barre DIN, 80 A, 4P | Manual change-over switch, DIN rail, 4P 80 A, 415 V | Hager | HIM408 |  |  | EA | 30 | 3
82 | Control | 550490901 | Axe de prolong. 200mm pour inv. Hager HIM | ext. axle 200mm, for rotary switch above (Hager HIM) | Hager | HZC112 |  |  | EA | 25 | 3
83 | Control | 550430420 | Inverseur de charge 415 V, barre DIN, 100 A,4P | Changeover switch, DIN rail, 4P 100 A, 415 V | Hager | HI405R |  |  | EA | 20 | 2
84 | Control | 550430520 | Inverseur de charge 415 V, barre DIN, 125 A,4P | Changeover switch, DIN rail, 4P 125 A, 415 V | Hager | HI406R |  |  | EA | 13 | 1
85 | Control | 550490242 | Axe de prolong. 200mm pour interr. rotative Hager HI | ext. axle 200mm, for rotary switch above (Hager HI) | Hager | HZC103 |  |  | EA | 15 | 1
86 | Control | 550430330 | Inverseur de charge 415V p. plaque, 160 A,4P | Changeover switch, screw mounting, 4P 160 A, 415 V | Hager | F HI452 |  |  | EA | 10 | 1
87 | Control | 510110300 | Contacteur,4 x NO 9A, 4KW, 100-250V contr. | contactor,4 x NO 9A, 4KW, 100-250V contr. | ABB | 1SBL137201R1300 |  |  | EA | 20 | 2
88 | Control | 510110310 | Contacteur,4 x NO 18A, 7.5KW, 100-250V contr. | contactor,4 x NO 18A, 7.5KW, 100-250V contr. | ABB | 1SBL177201R1300 |  |  | EA | 100 | 10
89 | Control | 510100380 | Contacteur,3 x NO 32A, 15KW, 100-250V contr. | contactor,3 x NO 32A, 15KW, 100-250V contr. | ABB | 1SBL277001R1300 |  |  | EA | 45 | 4
90 | Control | 510100620 | Contacteur,4 x NO 52A, 22KW, 100-250V contr. | contactor,4 x NO 52A, 22KW, 100-250V contr. | ABB | 1SBL367201R1300 |  |  | EA | 15 | 1
91 | Control | 510100650 | Contacteur,4 x NO 80A, 37KW, 100-250V contr. | contactor,4 x NO 80A, 37KW, 100-250V contr. | ABB | 1SBL397201R1300 |  |  | EA | 13 | 1
92 | Control | 510100670 | Contacteur,3 x NO 116A, 55KW, 100-250V contr. | contactor,3 x NO 116A, 55KW, 100-250V contr. | ABB | 1SFL427001R1300 |  |  | EA | 15 | 1
93 | Control | 510100680 | Contacteur,3 x NO 140A, 75KW, 100-250V contr. | contactor,3 x NO 140A, 75KW, 100-250V contr. | ABB | 1SFL447001R1300 |  |  | EA | 14 | 1
94 | Control | 510100700 | Contacteur,3 x NO 205A, 110KW, 100-250V contr. | contactor,3 x NO 205A, 110KW, 100-250V contr. | ABB | 1SFL527002R1300 |  |  | EA | 12 | 1
95 | Control | 514400328 | Contacteur,4 x NO 12A, 5.5KW, +1NO/1NC, 400V contr. | contactor,3 x NO 12A, 5.5KW, +1NO/1NC, 400V contr. | Schneider | LC1D12V7 |  |  | EA | 20 | 2
96 | Control | 514400348 | Contacteur,3 x NO 25A, 11KW, +1NO/1NC, 400V contr. | contactor,3 x NO 25A, 11KW, +1NO/1NC, 400V contr. | Schneider | LC1D25V7 |  |  | EA | 10 | 1
97 | Control | 514400368 | Contacteur,3 x NO 38A, 18.5KW, +1NO/1NC, 400V contr. | contactor,3 x NO 39A, 18.5KW, +1NO/1NC, 400V contr. | Schneider | LC1D38V7 |  |  | EA | 15 | 1
98 | Control | 514400608 | Contacteur,3 x NO 115A, 55KW, +1NO/1NC, 400V contr. | contactor,3 x NO 115A, 55KW, +1NO/1NC, 400V contr. | Schneider | LC1D115V7 |  |  | EA | 15 | 1
99 | Control | J 95007 CM-PVE | Relais de surv.3P, L1,2,3, N=185-265VAC, 1xNO cont. | voltage contr. relay, 3P, 185-265V, 1xNO contt. | ABB | 1SVR550870R9400 |  |  | EA | 26 | 3
100 | Control | 543210100 | Lampe contr.de phase, 3P 230V, 3LEDs, DIN rail | phase indicator lamp, 3P,230V, 3LEDs, DIN rail | ELTAKO | P3K12-230V |  |  | EA | 121 | 12
101 | Control | 472155634 | Lampe-signal 230VAC vert Hager, DIN rail | green 230VAC signal lamp, DIN rail | Hager | F SVN121 |  |  | EA | 18 | 2
102 | Control | F 17 500 V | Indicateur LED, vert, 230V, Ø 9.5mm, mont. en boite | LED signal lamp, green, 230V, Ø 9.5mm, mount in box | EAO | 17-500431 |  |  | EA | 113 | 11
103 | Control | 473210043 | Indicateur LED, rouge, 230V, Ø 22,5mm, mont. en boite | LED signal lamp, red, 230V, Ø 22,5mm, mount in box | Schneider | XB4BVM4 |  |  | EA | 113 | 11
104 | Control | 158603137 | Borne pour rail DIN, 4mm², pour fusible 5x20mm | Terminal block DIN rail mount. 4mm², Fuse 5x20mm | Woertz | 30930 |  |  | EA | 824 | 82
105 | Control | 802112158 | Fusible 5x20mm, 160mA, FF | Fuse 5x20mm, 160mA, FF, order per pcs | SIBA | 70 001 40 160MA |  |  | EA | 1598 | 160
106 | Earth | 156941179 | Croix (Piquet) de terre 1,5m, acier galv. avec bride | X-profile earth rod, 1,5m, galv.steel, with flange | OBO Bettermann | 5003016 |  |  | EA | 77 | 8
107 | Earth | 150571039 | Rail de liaison équipotentiel Racc. Fil 8-25 mm | Equipot.bonding rail, connection wires 6-25 mm | Flury | 286.080.000 |  |  | EA | 138 | 14
108 | Earth | 156832009 | Collier mise à terre, pour tube 8-22 mm | earthclamp for waterpipe, 8-22 mm | OBO Bettermann | 601218 |  |  | EA | 82 | 8
109 | Earth | 156830309 | Collier mise à terre, pour tube 17-48 mm | earthclamp for waterpipe, 17-48 mm | OBO Bettermann | 601213 |  |  | EA | 92 | 9
110 | Earth | 156830339 | Collier mise à terre, pour tube 17-114 mm | earthclamp for waterpipe, 17-114 mm | OBO Bettermann | 601214 |  |  | EA | 100 | 10
111 | Access | 120020319 | Bride à clou diamètre 8-12 mm et clou 1.8 mm | Clamp with nail diameter 8-12 mm and 2 mm nail | Thorsman & Co | T2041218 |  |  | EA | 3000 | 300
112 | Access | 120023505 | Bride à clou diamètre 10-14 mm et clou 2 mm | Clamp with nail diameter 10-14 mm and 2 mm nail | Thorsman & Co | T2042011 |  |  | EA | 3000 | 300
113 | Access | 120023905 | Bride à clou diamètre 14-20 mm et clou 2 mm | Clamp with nail diameter 14-20 mm and 2 mm nail | Thorsman & Co | T2052011 |  |  | EA | 1000 | 100
114 | Access | 120071211 | Collier (Colson) résistant aux UV, 128 mm | cable tie, UV resistant, 128 mm | Legrand | 31928 |  |  | EA | 370 | 37
115 | Access | 120071411 | Collier (Colson) résistant aux UV, 260 mm | cable tie, UV resistant, 260 mm | Legrand | 31930 |  |  | EA | 470 | 47
116 | Access | 120097201 | Socle à visser en polyamide pour collier 4.6mm | polyamide screw base for cable tie 4.6mm | Legrand | 32070 |  |  | EA | 100 | 10
117 | Access | 120097114 | Socle autocollant polyamide pour collier 9mm | self adhesive base for cable tie 9mm | Plica | 613300010 |  |  | EA | 100 | 10
118 | Access | 152908013 | Presse-étoupe IP65, M16, 6.5 - 13,5 mm câble | Cable Gland IP65, M16, 5 - 10 mm cable | Hensel | AKM 16 |  |  | EA | 260 | 26
119 | Access | 152908023 | Presse-étoupe IP65, M20, 6.5 - 13,5 mm câble | Cable Gland IP65, M20, 6.5 - 13,5 mm cable | Hensel | AKM 20 |  |  | EA | 520 | 52
120 | Access | 152908033 | Presse-étoupe IP65, M25, 10 - 17 mm câble | Cable Gland IP65, M25, 10 - 17 mm cable | Hensel | AKM 25 |  |  | EA | 1020 | 102
121 | Access | 152908043 | Presse-étoupe IP65, M32, 14 - 21 mm câble | Cable Gland IP65, M32, 14 - 21 mm cable | Hensel | AKM 32 |  |  | EA | 1270 | 127
122 | Access | 152908053 | Presse-étoupe IP65, M40, 20 - 28.5 mm câble | Cable Gland IP65, M40, 20 - 28,5 mm cable | Hensel | AKM 40 |  |  | EA | 2545 | 254
123 | Access | 152908063 | Presse-étoupe IP65, M50, 25 - 35 mm câble | Cable Gland IP65, M50, 25 - 35 mm cable | Hensel | AKM 50 |  |  | EA | 1510 | 151
124 | Access | 152908073 | Presse-étoupe IP65, M63, 35 - 48 mm câble | Cable Gland IP65, M63, 35 - 48 mm cable | Hensel | AKM 63 |  |  | EA | 1035 | 103
125 | Access | 121999908 | Coffret: presse-étoupe 146 pcs, M16-M32, PVC+Metal | sort.Box cable gland 146 pcs, M16-M32, PVC+Metal | Agro | MSET1 |  |  | EA | 15 | 1
126 | Access | 156070051 | Manchons à sertir, non isolé, 4 mm² | crimp connector (butt joint), non insulated, 4 mm² | Klauke | 20R |  |  | EA | 700 | 70
127 | Access | 156070061 | Manchons à sertir, non isolé, 6 mm² | crimp connector (butt joint), non insulated, 6 mm² | Klauke | 21R |  |  | EA | 600 | 60
128 | Access | 156070081 | Manchons à sertir, non isolé, 10 mm² | crimp connector (butt joint), non insulated, 10 mm² | Klauke | 22R |  |  | EA | 1600 | 160
129 | Access | 156070091 | Manchons à sertir, non isolé, 16 mm² | crimp connector (butt joint), non insulated, 16 mm² | Klauke | 23R |  |  | EA | 2624 | 262
130 | Access | 156070101 | Manchons à sertir, non isolé, 25 mm² | crimp connector (butt joint), non insulated, 25 mm² | Klauke | 24R |  |  | EA | 2500 | 250
131 | Access | 156070111 | Manchons à sertir, non isolé, 35 mm² | crimp connector (butt joint), non insulated, 35 mm² | Klauke | 25R |  |  | EA | 1024 | 102
132 | Access | 156355549 | Cosse à sertir, isolée, 2.5mm², vis M5, bleu | cable lug, insulated, 2.5mm², screw M5 | Klauke | 6305 |  |  | EA | 100 | 10
133 | Access | 156355859 | Cosse à sertir, isolée, 4-6mm², vis M6, jaune | cable lug, insulated, 4-6mm², screw M6 | Klauke | 6506 |  |  | EA | 100 | 10
134 | Access | 156330841 | Cosse tubulaire à sertir non isolée, 6mm², vis M8 | cable lug, non insulated, 6mm², screw M8 | Klauke | 95R8 |  |  | EA | 100 | 10
135 | Access | 156331041 | Cosse tubulaire à sertir non isolée, 10mm², vis M8 | cable lug, non insulated, 10mm², screw M8 | Klauke | 2R8MS |  |  | EA | 1100 | 110
136 | Access | 156341151 | Cosse tubulaire à sertir non isolée, 16mm², vis M10 | cable lug, non insulated, 16mm², screw M10 | Ferratec | SA310MS |  |  | EA | 2650 | 265
137 | Access | 156331241 | Cosse tubulaire à sertir non isolée, 25mm², vis M8 | cable lug, non insulated, 25mm², screw M8 | Klauke | 4R8MS |  |  | EA | 25 | 2
138 | Access | 156331251 | Cosse tubulaire à sertir non isolée, 25mm², vis M10 | cable lug, non insulated, 25mm², screw M10 | Klauke | 4R10MS |  |  | EA | 2556 | 255
139 | Access | 156331351 | Cosse tubulaire à sertir non isolée, 35mm², vis M10 | cable lug, non insulated, 35mm², screw M10 | Klauke | 5R10MS |  |  | EA | 1050 | 105
140 | Access | 156331461 | Cosse tubulaire à sertir non isolée, 50mm², vis M12 | cable lug, non insulated, 50mm², screw M12 | Klauke | 6R12MS |  |  | EA | 550 | 55
141 | Access | 156339001 | Coffret: 280 cosses non isolée, 6-50 mm², pince | Box: 280 non ins. lugs 6 - 50 mm², w.crimp tool | Klauke | SK65B |  |  | EA | 16 | 1
142 | Access | 156359018 | Coffret: 3200 manchons+cosses isolés, 1.5 - 6mm, pince | Box: 3200 ins. Sleeves+lugs 1,5 - 6 mm, w. pliers | Glomar | IKS-3200 |  |  | EA | 15 | 1
143 | Access | 170902306 | Ruban PVC isolant, Rouge 10 m, 19mm, | Self-adhesive tape 19 mm, Red | Permapack | 0 |  |  | EA | 227 | 23
144 | Access | 170902308 | Ruban PVC isolant, Brun 10 m, 19mm, | Self-adhesive tape 19 mm, Brown | Permapack | 0 |  |  | EA | 77 | 8
145 | Access | 170902302 | Ruban PVC isolant, Bleu, 10 m, 19mm, | Self-adhesive tape 19 mm, Blue | Permapack | 0 |  |  | EA | 77 | 8
146 | Access | 170902350 | Ruban PVC isolant, Vert-jaune, 10 m, 19mm, | Self-adhesive tape 19 mm, Yellow-green, 10m | Permapack | 0 |  |  | EA | 187 | 19
147 | Access | 170902300 | Ruban PVC isolant, Noir, 10 m, 19mm, | Self-adhesive tape 19 mm, Black, 10m | Permapack | 138181 |  |  | EA | 227 | 23
148 | Access | 171000000 | Ruban (Scotch 23) autosoudant, 19 mm, Noir | vulcanizedTape (Scotch 23), 19 mm, Black | 3M | HT002001309 |  |  | EA | 79 | 8
149 | Access | 156400301 | Embout de câble isolé 1,5 mm | ferrule (wire end sleeve), insulated 1.5 mm | Legrand | 037664 |  |  | EA | 28100 | 2810
150 | Access | 156400501 | Embout de câble isolé 2,5 mm | ferrule (wire end sleeve), insulated 2.5 mm | Legrand | 037666 |  |  | EA | 53100 | 5310
151 | Access | 156400701 | Embout de câble isolé 4 mm | ferrule (wire end sleeve), insulated 4 mm | Legrand | 37667 |  |  | EA | 16350 | 1635
152 | Access | 156400801 | Embout de câble isolé 6 mm | ferrule (wire end sleeve), insulated 6 mm | Legrand | 037668 |  |  | EA | 6150 | 615
153 | Access | 156401101 | Embout de câble isolé 10 mm | ferrule (wire end sleeve), insulated 10 mm | Legrand | 037669 |  |  | EA | 10600 | 1060
154 | Access | 156401201 | Embout de câble isolé 16 mm | ferrule (wire end sleeve), insulated 16 mm | Legrand | 37670 |  |  | EA | 10400 | 1040
155 | Access | 156401301 | Embout de câble isolé 25 mm | ferrule (wire end sleeve), insulated 25 mm | Legrand | 037671 |  |  | EA | 5200 | 520
156 | Access | 156401401 | Embout de câble isolé 35 mm | ferrule (wire end sleeve), insulated 35 mm | Legrand | 037677 |  |  | EA | 2700 | 270
157 | Access | 156421519 | Embout de câble isolé 50 mm | ferrule (wire end sleeve), insulated 50 mm | Klauke | 48120/25-50/GH |  |  | EA | 150 | 15
158 | Access | 165000630 | cheville Fischer 6 x 30 mm | Wallplug, 6x30 mm, Fischer | Fischer | 4994-50106 |  |  | EA | 2500 | 250
159 | Access | 165000840 | cheville Fischer 8 x 40 mm | Wallplug, 8x40 mm, Fischer | Fischer | 4994-50108 |  |  | EA | 1300 | 130
160 | Access | 165001050 | cheville Fischer 10 x 50 mm | Wallplug, 10x50 mm, Fischer | Fischer | 4994-50110 |  |  | EA | 1150 | 115
161 | Access | 163084130 | Vis, tête cruci. 4.5x30 mm, pour 6 mm cheville | Screw, 4.5x30 mm, Star - head, for 6 mm plug | SFS unimarket | 16-045030 |  |  | EA | 1550 | 155
162 | Access | 163086240 | Vis, tête cruci. 6x40 mm, pour 8 mm cheville | Screw, 6x40 mm, Star - head, for 8 mm plug | OBO Bettermann | 3195929 |  |  | EA | 1200 | 120
163 | Access | 163418050 | Vis, tête 6pans, 8x50 mm, pour 10 mm cheville | Screw, 8x50 mm, hexagon - head, for 10 mm plug | SFS unimarket | 275-080050 |  |  | EA | 1150 | 115
164 | Access | 160221122 | Vis à métaux tête cylindr., fente à vis, M5 x 10mm | bolt, cylindric head, M5 x 10mm | SFS unimarket | 300-050010 |  |  | EA | 50 | 5
165 | Access | 160221127 | Vis à métaux tête cylindr., fente à vis, M5 x 20mm | bolt, cylindric head, M5 x 20mm | SFS unimarket | 300-050020 |  |  | EA | 50 | 5
166 | Access | 160221130 | Vis à métaux tête cylindr., fente à vis, M5 x 30mm | bolt, cylindric head, M5 x 30mm | SFS unimarket | 300-050030 |  |  | EA | 20 | 2
167 | Access | 160221152 | Vis à métaux tête cylindr., fente à vis, M6 x 40mm | bolt, cylindric head, M6 x 40mm | SFS unimarket | 300-060040 |  |  | EA | 500 | 50
168 | Access | 160241227 | Vis à métaux Tête hexagonale, fente à vis, M8 x 20mm | bolt, hexagon head, M8 x 20mm | SFS unimarket | 100-080020 |  |  | EA | 600 | 60
169 | Access | 160241232 | Vis à métaux Tête hexagonale, fente à vis, M8 x 40mm | bolt, hexagon head, M8 x 40mm | SFS unimarket | 100-080040 |  |  | EA | 50 | 5
170 | Access | 160241236 | Vis à métaux Tête hexagonale, fente à vis, M8 x 60mm | bolt, hexagon head, M8 x 60mm | SFS unimarket | 100-080060 |  |  | EA | 550 | 55
171 | Access | 160241267 | Vis à métaux Tête hexagonale, fente à vis, M10 x 20mm | bolt, hexagon head, M10 x 20mm | SFS unimarket | 100-100020 |  |  | EA | 520 | 52
172 | Access | 160241276 | Vis à métaux Tête hexagonale, fente à vis, M10 x 60mm | bolt, hexagon head, M10 x 60mm | SFS unimarket | 100-100060 |  |  | EA | 500 | 50
173 | Access | 160741120 | Ecrous hexagonal M5 | Nut M5 | SFS unimarket | 150-050000 |  |  | EA | 50 | 5
174 | Access | 160741140 | Ecrous hexagonal M6 | Nut M6 | SFS unimarket | 150-060000 |  |  | EA | 1000 | 100
175 | Access | 160741180 | Ecrous hexagonal M8 | Nut M8 | SFS unimarket | 150-080000 |  |  | EA | 1100 | 110
176 | Access | 160741200 | Ecrous hexagonal M10 | Nut M10 | SFS unimarket | 150-100000 |  |  | EA | 1000 | 100
177 | Access | 160481100 | Rondelle M4 | Washer M4 | SFS unimarket | USZ/M4 |  |  | EA | 3000 | 300
178 | Access | 160481120 | Rondelle M5 | Washer M5 | SFS unimarket | USZ/M5 |  |  | EA | 50 | 5
179 | Access | 160481140 | Rondelle M6 | Washer M6 | SFS unimarket | USZ/M6 |  |  | EA | 2000 | 200
180 | Access | 160481180 | Rondelle M8 | Washer M8 | SFS unimarket | USZ/M8 |  |  | EA | 2000 | 200
181 | Access | 160481200 | Rondelle M10 | Washer M10 | SFS unimarket | USZ/M10 |  |  | EA | 1000 | 100
182 | Access | 160481220 | Rondelle M12 | Washer M12 | SFS unimarket | USZ/M12 |  |  | EA | 1000 | 100
183 | Access | 122010403 | Gaine rétractable, 1m, noir, 3-1 mm | Heat shrink tube,1m, black, 3-1 mm | Cellpack | 144368 |  |  | EA | 16 | 1
184 | Access | 122010423 | Gaine rétractable, 1m, bleu, 3-1 mm | Heat shrink tube,1m, blue, 3-1 mm | Cellpack | 144371 |  |  | EA | 10 | 1
185 | Access | 122010483 | Gaine rétractable, 1m, vert-jaune, 3-1 mm | Heat shrink tube,1m, green-yellow, 3-1 mm | Cellpack | 204015 |  |  | EA | 10 | 1
186 | Access | 122010803 | Gaine rétractable, 1m, noir, 6-2 mm | Heat shrink tube,1m, black, 6-2 mm | Cellpack | 144378 |  |  | EA | 11 | 1
187 | Access | 122010823 | Gaine rétractable, 1m, bleu, 6-2 mm | Heat shrink tube,1m, blue, 6-2 mm | Cellpack | 144381 |  |  | EA | 10 | 1
188 | Access | 122010883 | Gaine rétractable, 1m, vert-jaune, 6-2 mm | Heat shrink tube,1m, green-yellow, 6-2 mm | Cellpack | 204018 |  |  | EA | 10 | 1
189 | Access | 122011103 | Gaine rétractable, 1m, noir, 9-3 mm | Heat shrink tube,1m, black, 9-3 mm | Cellpack | 144385 |  |  | EA | 11 | 1
190 | Access | 122011123 | Gaine rétractable, 1m, bleu, 9-3 mm | Heat shrink tube,1m, blue, 9-3 mm | Cellpack | 144388 |  |  | EA | 10 | 1
191 | Access | 122011183 | Gaine rétractable, 1m, vert-jaune, 9-3 mm | Heat shrink tube,1m, green-yellow, 9-3 mm | Cellpack | 204022 |  |  | EA | 10 | 1
192 | Access | 122012003 | Gaine rétractable, 1m, noir, 18-6 mm | Heat shrink tube,1m, black, 18-6 mm | Cellpack | 144399 |  |  | EA | 16 | 1
193 | Access | 122012023 | Gaine rétractable, 1m, bleu, 18-6 mm | Heat shrink tube,1m, blue, 18-6 mm | Cellpack | 144401 |  |  | EA | 11 | 1
194 | Access | 122012083 | Gaine rétractable, 1m, vert-jaune, 18-6 mm | Heat shrink tube,1m, green-yellow, 18-6 mm | Cellpack | 204029 |  |  | EA | 11 | 1
195 | Access | 122013803 | Gaine rétractable, 1m, noir, 39-13 mm | Heat shrink tube,1m, black, 39-13 mm | Cellpack | 144413 |  |  | EA | 16 | 1
196 | Access | 122013823 | Gaine rétractable, 1m, bleu, 39-13 mm | Heat shrink tube,1m, blue, 39-13 mm | Cellpack | 144415 |  |  | EA | 11 | 1
197 | Access | 122013883 | Gaine rétractable, 1m, vert-jaune, 39-13 mm | Heat shrink tube,1m, green-yellow, 39-13 mm | Cellpack | 204035 |  |  | EA | 11 | 1
198 | Access | 157323219 | Barrettes domino vis 1 - 4 mm², 12 pos., Noir | Terminal strips, screw, 1 - 4 mm², 12 pos., Black | Niedax | 129.0 |  |  | EA | 1520 | 152
199 | Access | 157323419 | Barrettes domino vis 2.5 - 10 mm², 12 pos., Noir | Terminal strips, screw, 2.5 - 10 mm², 12 pos., Black | Niedax | 143.0 |  |  | EA | 2550 | 255
200 | Access | 157323619 | Barrettes domino vis 10 - 25 mm², 12 pos., Noir | Terminal strips, screw, 10 - 25 mm², 12 pos., Black | Niedax | 149.0 |  |  | EA | 550 | 55
201 | Access | 157812314 | Borne sans vis (Wago), 3 pos., 0.2 - 4 mm | screwless connector (Wago), 3 pos. 0.2 - 4mm | Wago | Wago |  |  | EA | 35700 | 3570
202 | Access | 157812514 | Borne sans vis (Wago), 5 pos., 0.2 - 4 mm | screwless connector (Wago), 5 pos. 0.2 - 4mm | Wago | Wago |  |  | EA | 15350 | 1535
203 | Canal | 152105021 | Boite dérivation carr. 80x80 x45 mm, IP55 | Square junction box 80x80 x45 mm, IP55 | Legrand | 92013 |  |  | EA | 360 | 36
204 | Canal | 152155021 | Boite dérivation carr. 105x105 x55 mm, IP55 | Square junction box 105x105 x55 mm, IP55 | Legrand | 92023 |  |  | EA | 385 | 38
205 | Canal | 152210301 | Boite dérivation rect. couv. à vis 110x155x74 mm, IP55 | rect. junction box, screw cap 110x155 x74 mm, IP55 | Legrand | 92042 |  |  | EA | 510 | 51
206 | Canal | 152339301 | Boite dérivation rect. couv. à vis 220x170x86 mm, IP55 | rect. junction box, screw cap 220x170 x86 mm, IP55 | Legrand | 92062 |  |  | EA | 1005 | 100
207 | Canal | 152411001 | Boite dérivation rect. couv. à vis 310x240x160, IP55 | rect. junction box Screw cap 310x240x160 mm, IP55 | Legrand | 92284 |  |  | EA | 55 | 5
208 | Canal | 155910047 | couvercle à vis pour boite avec disque sélecteur | cover for box 82x82 | Ammer Kunststofffabrik | UPD |  |  | EA | 3500 | 350
209 | Cable | 109010323 | Câble d'installation 3x1.5mm² LNPE | Installation cable 3x1.5mm² LNPE | Leoni Studer | VG FE0 3 X 1.5 LNPE |  |  | EA | 6700 | 670
210 | Cable | 109020323 | Câble d'installation 3x2.5mm² LNPE | Installation cable 3x2.5mm² LNPE | Leoni Studer | VG FE0 3 X 2.5 LNPE |  |  | EA | 5700 | 570
211 | Cable | 109040323 | Câble d'installation 3x6mm² LNPE | Installation cable 3x6mm² LNPE | Leoni Studer | NN NOHAL 3X6 LNPE 212902 |  |  | EA | 600 | 60
212 | Cable | 109020523 | Câble d'installation 5x2.5mm² 3LNPE | Installation cable 5x2.5mm² LNPE | Leoni Studer | VG FE0 5 X 2.5 3LNPE |  |  | EA | 600 | 60
213 | Cable | 109030523 | Câble d'installation 5x4mm² 3LNPE | Installation cable 5x4mm² LNPE | Leoni Studer | VG FE0 5 X 4 3LNPE RAL7035 |  |  | EA | 600 | 60
214 | Cable | 109040523 | Câble d'installation 5x6mm² 3LNPE | Installation cable 5x6mm² LNPE | Leoni Studer | VG FE0 5 X 6 3LNPE RAL7035 |  |  | EA | 1300 | 130
215 | Cable | 109050523 | Câble d'installation 5x10mm² 3LNPE | Installation cable 5x10mm² LNPE | Leoni Studer | VG FE0 5 X 10 3LNPE RM (SEIL) |  |  | EA | 200 | 20
216 | Cable | 109060523 | Câble d'installation 5x16mm² 3LNPE | Installation cable 5x16mm² LNPE | Leoni Studer | VG FE0 5 X 16 3LNPE RAL7035 |  |  | EA | 1200 | 120
217 | Cable | 109062523 | Câble d'installation 5x25mm² 3LNPE | Installation cable 5x25mm² LNPE | Leoni Studer | VG FE0 5 X 25 3LNPE RAL7035 |  |  | EA | 500 | 50
218 | Cable | 105002100 | Fil d'installation 1.5mm² Noire | Installation single wire, 1.5mm² Black | XBK Kabel | T-Draht 1.50 sz |  |  | EA | 500 | 50
219 | Cable | 105002106 | Fil d'installation 1.5mm² Rouge | Installation single wire, 1.5mm² Red | XBK Kabel | T-Draht 1.50 rt |  |  | EA | 500 | 50
220 | Cable | 105002108 | Fil d'installation 1.5mm² Brun | Installation single wire, 1.5mm² Brown | XBK Kabel | XBK Kabel |  |  | EA | 500 | 50
221 | Cable | 105002117 | Fil d'installation 1.5mm² Bleu clair | Installation single wire, 1.5mm² Blue | XBK Kabel | T-Draht 1.50 h'bl |  |  | EA | 500 | 50
222 | Cable | 105002150 | Fil d'installation 1.5mm² Vert-jaune | Installation single wire, 1.5mm² Y/G | XBK Kabel | T-Draht 1.50 gb-gn |  |  | EA | 500 | 50
223 | Cable | 105002200 | Fil d'installation 2.5mm² Noire | Installation single wire, 2.5mm² Black | General Cavi | General Cavi |  |  | EA | 150600 | 15060
224 | Cable | 105002206 | Fil d'installation 2.5mm² Rouge | Installation single wire, 2.5mm² Red | General Cavi | T-Draht 2.50 rt |  |  | EA | 150500 | 15050
225 | Cable | 105002208 | Fil d'installation 2.5mm² Brun | Installation single wire, 2.5mm² Brown | General Cavi | T-Draht 2.50 br |  |  | EA | 5600 | 560
226 | Cable | 105002217 | Fil d'installation 2.5mm² Bleu clair | Installation single wire, 2.5mm² Blue | General Cavi | T-Draht 2.50 h'bl |  |  | EA | 5600 | 560
227 | Cable | 105002250 | Fil d'installation 2.5mm² Vert-jaune | Installation single wire, 2.5mm² Y/G | General Cavi | T-Draht 2.50 gb-gn |  |  | EA | 255700 | 25570
228 | Cable | 113004150 | Toron flexible 6mm² Vert-jaune | Installation flex. wire, 6mm² Y/G | Cavi Fermi | 1720.204 |  |  | EA | 100 | 10
229 | Cable | 113004250 | Toron flexible 10mm² vert-jaune | Installation flex. wire, 10mm² Y/G | Baldassari Cavi | H07V-K 10 PE/100 |  |  | EA | 2600 | 260
230 | Cable | 113004350 | Toron flexible 16mm² Vert-jaune | Installation flex. wire, 16mm² Y/G | Cavi Fermi | H07V-K 16 PE/100 |  |  | EA | 1700 | 170
231 | Cable | 113004450 | Toron flexible 25mm² vert-jaune | Installation flex. wire, 25mm² Y/G | 0 | H07V-K 25 PE |  |  | EA | 600 | 60
232 | Cable | 113004550 | Toron flexible 35mm² vert-jaune | Installation flex. wire, 35mm² Y/G | 0 | H07V-K 35 PE |  |  | EA | 100 | 10
233 | Cable | 114015321 | Câble flexible, 3x1.5mm², LNPE | flexible cable, 3x1.5mm², LNPE | 0 | H05VV-F 3 X 1,5 LNPE I |  |  | EA | 700 | 70
234 | Cable | 114020320 | Câble flexible, 3x2.5mm², LNPE | flexible cable, 3x2.5mm², LNPE | 0 | H05VV-F 3 X 2,5 LNPE I |  |  | EA | 1800 | 180
235 | Cable | 114020520 | Câble flexible, 5x2.5mm²,3LNPE | flexible cable, 5x2.5mm², 3LNPE | 0 | H05VV-F 5 X 2,5 LNPE I |  |  | EA | 100 | 10
236 | Cable | 171800078 | Ruban avertisseur câble, rouleau 250m | cable warning tape, roll 250m | Cellpack | 145862 |  |  | EA | 21 | 2
237 | Light | 924000029 | Plafonnier, incl. LED, rond 27 cm, IP54 | lamp, incl. LED, round 27 cm, IP54 | LEUCHTEN ARMATUREN | 24 43 5270 |  |  | EA | 35 | 4
238 | Light | 924000112 | Plafonnier,E27, ovale, 18cm, IP44, s. amp. | lamp,E27, oval 18cm IP44, without bulb | Max Hauri | 107340 |  |  | EA | 35 | 4
239 | Light | 941336159 | Lum. linéaire LED, 590mm, IP40, 3000K, 16W, incl. LED | Linear Lamp LED, 590mm, IP40, 3000K, 16W, incl. LED | Hegra | BO 60 3K |  |  | EA | 40 | 4
240 | Light | 941336359 | Lum. linéaire LED, 857mm, IP40, 3000K, 24W, incl. LED | Linear Lamp LED, 875mm, IP40, 3000K, 24W, incl. LED | Hegra | BO 90 3K |  |  | EA | 20 | 2
241 | Light | 941336059 | Lum. linéaire LED, 590mm, IP40, 4000K, 16W, incl. LED | Linear Lamp LED, 590mm, IP40, 4000K, 16W, incl. LED | Hegra | BO 60 4K |  |  | EA | 20 | 2
242 | Light | 941336259 | Lum. linéaire LED, 857mm, IP40, 4000K, 24W, incl. LED | Linear Lamp LED, 875mm, IP40, 4000K, 24W, incl. LED | Hegra | BO 90 4k |  |  | EA | 20 | 2
243 | Light | 941304951 | Lum. linéaire LED, 1.2m, IP65, 4000K, 3700lm, incl. LED | LED tube lamp, 1.2m, IP65, 4000K, 3700lm, incl. LED | Philips | 34979499 |  |  | EA | 270 | 27
244 | Light | 941305061 | Lum. linéaire LED, 1.5m, IP65, 4000K, 5700lm, incl. LED | LED tube lamp, 1.5m, IP65, 4000K, 5700lm, incl. LED | Philips | 34980099 |  |  | EA | 100 | 10
245 | Light | 927130913 | Lum. secours montage mural/plafond 1x8 W, IP 40 | Emergency light for wall/ ceiling mounting 1x8 W, IP 40 | Legrand | 66000 |  |  | EA | 115 | 11
246 | Light | 927160913 | Lum. secours montage mural/plafond 2x8 W, IP 40 | Emergency light for wall/ ceiling mounting 2x8 W, IP 40 | Legrand | 66002 |  |  | EA | 10 | 1
247 | Light | 941505060 | Projecteur LED 20W, 4000K, 2'200lm, noir, IP65 | Floodlight LED 20W, 4000K, 2'200lm, black, IP65 | Ledvance | 4058075097483 |  |  | EA | 270 | 27
248 | Light | 941506060 | Projecteur LED 50W, 4000K, 5'500lm, blanc, IP65 | Floodlight LED 50W, 4000K, 5'500lm, white, IP65 | Ledvance | 4058075097582 |  |  | EA | 110 | 11
249 | Light | 941507260 | Projecteur LED 90W, 4000K, 10'000lm, noir, IP65 | Floodlight LED 90W, 4000K, 10'00lm, black, IP65 | Ledvance | 4058075097681 |  |  | EA | 50 | 5
250 | Light | 924344300 | Projecteur LED 30W, 4000K, 3'650lm, IP65, dét. motion | Floodlight LED 30W, 4000K, 3650lm, IP65, mot. det. | Esylux | EL10810176 |  |  | EA | 100 | 10
251 | Light | 941158651 | Tube Polyc. T8 LED,600mm, 3000K,8W,230VAC,s. Ballast | LED Tube Polyc. T8,600mm, 3000K,8W,230VAC,ballastless | Philips | 69747400 |  |  | EA | 100 | 10
252 | Light | 941158751 | Tube Polyc. T8 LED,600mm, 4000K,9W,230VAC,s. Ballast | LED Tube Polyc. T8,600mm, 4000K,9W,230VAC,ballastless | Philips | 69749800 |  |  | EA | 110 | 11
253 | Light | 941158851 | Tube Polyc. T8 LED,600mm, 6500K,9W,230VAC,s. Ballast | LED Tube Polyc. T8,600mm, 6500K,9W,230VAC,ballastless | Philips | 69751100 |  |  | EA | 200 | 20
254 | Light | 941801481 | Tube Polyc. T8 LED,1200mm, 3000K,16W,230VAC,s. Ballast | LED Tube Polyc. T8,1200mm, 3000K,16W,230VAC,ballastless | Philips | 64721600 |  |  | EA | 100 | 10
255 | Light | 941801491 | Tube Polyc. T8 LED,1200mm, 4000K,16W,230VAC,s. Ballast | LED Tube Polyc. T8,1200mm, 4000K,16W,230VAC,ballastless | Philips | 64723000 |  |  | EA | 260 | 26
256 | Light | 941801501 | Tube Polyc. T8 LED,1200mm, 6500K,16W,230VAC,s. Ballast | LED Tube Polyc. T8,1200mm, 6500K,16W,230VAC,ballastless | Philips | 64725400 |  |  | EA | 350 | 35
257 | Light | 941152652 | Ampoule LED E27 (vis) 5.5W 4000K 470lm | Led Bulb E27 (screw) 5.5W 4000K 470lm | Sylvania | 0026977 |  |  | EA | 160 | 16
258 | Light | 941151772 | Ampoule LED E27 (vis) 5.5W 2700K 470lm, blanc chaud | Led Bulb E27 (screw) 5.5W 2700K 470lm, warmwhite | Sylvania | 0026948 |  |  | EA | 260 | 26
259 | Light | 941141372 | Ampoule LED E27 (vis) 9W 4000K 850lm | Led Bulb E27 (screw) 9W 4000K 850lm | Sylvania | 0026669 |  |  | EA | 250 | 25
260 | Light | 941801871 | Ampoule LED E27 (vis) 9W 2700K 806lm, blanc chaud | Led Bulb E27 (screw), 9W, 2'700K, 806lm, warmwhite | Philips | 66064200 |  |  | EA | 210 | 21
261 | Light | 941142202 | Ampoule LED E27 (vis) 13W 6500K 1521lm | Led Bulb E27 (screw) 13W 6500K 1521lm | Sylvania | 0027969 |  |  | EA | 350 | 35
262 | Light | 941142002 | Ampoule LED E27 (vis) 13W 2700K 1421lm | Led Bulb E27 (screw) 13W 2700K 1421lm, warmwhite | Sylvania | 0027968 |  |  | EA | 300 | 30
263 | Light | 930313204 | Simple Douille pour mont. plafond, E27 | Simple Lampholder, E27, straight (ceiling mount) | Roesch | 235.001.400 |  |  | EA | 260 | 26
264 | Light | 930314204 | Simple Douille pour mont. murale, E27 | Simple Lampholder, E27, angled (wall mount) | Roesch | 235.011.400 |  |  | EA | 110 | 11
265 | Switch | 240131031 | Inter.basc. 10A, IP55, inv., av. boite 80x80x57mm | Switch 10A, IP55, 2-way, w. box 80x80x57mm | Legrand Plexo | 69711 |  |  | EA | 140 | 14
266 | Switch | 240111031 | Inter.basc. 10A, IP55, inv., av. boite 80x80x57mm, double | Switch 10A, IP55, 2-way, w. box 80x80x57mm, double | Legrand Plexo | 69715 |  |  | EA | 160 | 16
267 | Switch | 240231031 | Inter.basc. 10A, IP55, inv., av. boite 80x80x57mm, lum. | Switch 10A, IP55, 2-way , w. box 80x80x57mm, light | Legrand Plexo | 69713 |  |  | EA | 60 | 6
268 | Switch | 201310001 | Inter.basc. 10A, IP20, inv., av. boite 79x79x54mm | Switch 10A, IP20, 2-way, w. box 79x79x54mm | Legrand Arteor | 564424 |  |  | EA | 120 | 12
269 | Switch | 201110001 | Inter.basc. 10A, IP20, inv., av. boite 79x79x54mm, double | Switch 10A, IP20, 2-way, w. box 79x79x54mm, double | Legrand Arteor | 564423 |  |  | EA | 110 | 11
270 | Switch | 535838000 | Dét. mouv. Mont. Mur 180°, 2300w, 5sec-15min, IP55 | mot. sensor wall mount, 180°,2300W, 5sec-15min, IP55 | Theben | 1010505 |  |  | EA | 53 | 5
271 | Switch | 535942700 | Dét. mouv. Mont. Plafond, 360°, 2300w, 8sec-35min, IP54 | mot. sensor ceiling mount, 360°,2300W, 8sec-35min, IP54 | Steinel | 71281 |  |  | EA | 103 | 10
272 | Socket | 620045031 | PRISE Schuko 16A, IP55, av. boite 84x80x62mm | SOCKET Schuko IP55, surf. mount. 16A, 84x80x62mm, w. box | Legrand Plexo | 69733 |  |  | EA | 130 | 13
273 | Socket | 620018331 | PRISE Fran. 16A, IP55, av. boite 84x80x62mm | SOCKET French IP55, surf. mount. 16A, 84x80x62mm, w. box | Legrand Plexo | 69731 |  |  | EA | 110 | 11
274 | Socket | K 69732 | PRISE Brit.App Plexo simple, IP 55,13A gris | SOCKET BS IP55, Plexo, 13A, single, surf., w. box | Legrand Plexo | 69732 |  |  | EA | 280 | 28
275 | Socket | K 69739 | PRISE Brit.App Plexo double, IP 55,13A gris | SOCKET BS IP55, Plexo, 13A, double, surf., w. box | Legrand Plexo | 69739 |  |  | EA | 120 | 12
276 | Socket | 600007003 | PRISE Schuko 16A, IP20, av. boite 86x86x54mm | SOCKET Schuko IP20, surf. mount. 16A, w. box 86x86x54 mm | Hager Kallysto.line | WH23750100Q |  |  | EA | 160 | 16
277 | Socket | L 730064 | PRISE Brit. 13A, IP20, enc. 86x86mm | SOCKET BS, 13A, 86x86mm, w.out box | Legrand synergy | 730064 |  |  | EA | 1500 | 150
278 | Socket | G 736406 | boite ap. Brit. 86x86x35mm. Legr. Syn. | box surf. BS, 86x86x35mm, Legr. Syn. | Legrand synergy | 736406 |  |  | EA | 1000 | 100
279 | Socket | G 736410 | boite ap. Brit. 86x146x35mm. Legr. Syn. | box surf. BS, 86x146x35mm, Legr. Syn. | Legrand synergy | 736410 |  |  | EA | 50 | 5
280 | Socket | G 736413 | dual boite ap. Brit. 86x146x35mm. Legr. Syn. | dual box surf. BS, 86x146x35mm, Legr. Syn. | Legrand synergy | 736413 |  |  | EA | 125 | 13
281 | Socket | G 736407 | boite ap. sortie cable, Brit. 86x86x48mm. Legr. Syn. | box surf. w. cable outlet, BS, 86x86x48mm, Legr. Syn. | Legrand synergy | 736407 |  |  | EA | 100 | 10
282 | Socket | 378410208 | Plaque ferm. 94x94 mm, fix à vis | Blanking plate, 94x94 mm, screw mount. | Hager Kallysto.line | WH 26 92 05 00 C |  |  | EA | 610 | 61
283 | Socket | 672049039 | Fiche mâle mobile Schuko + NF (french) 16A | Plug male mobile schuko + french 16A | Max Hauri | 910.270 |  |  | EA | 140 | 14
284 | Socket | 673605109 | Fiche mâle mobile Schuko 16A, caoutchouc | Plug male mobile schuko 16A, rubber, heavy duty | Kalthoff | Schuko Norm Stecker |  |  | EA | 150 | 15
285 | Socket | 672060109 | Fiche GB (BS standard), 13A, av. fusible 13A | Plug GB (BS standard), 13A, w. fuse 13A | Max Hauri | 101426 |  |  | EA | 1050 | 105
286 | Socket | 802010629 | fusible 13A | fuse 13A | Schurter | 0001.1015 |  |  | EA | 150 | 15
287 | Socket | 728600007 | Prise murale, AP CEE type, 400V, 16A IP44, 3L+N+PE | SOCKET Wall mount, 400V 16A, CEE type IP44, 3L+N+PE | Walther | W110 |  |  | EA | 29 | 3
288 | Socket | 778600007 | Fiche mobile, CEE type, 400V, 16A IP44, 3L+N+PE | Plug, 400V 16A, CEE type IP44, 3L+N+PE | Walther | W210 |  |  | EA | 29 | 3
289 | Socket | 728900007 | Prise murale, AP CEE type, 400V, 32A IP44, 3L+N+PE | SOCKET Wall mount, 400V 32A, CEE type IP44, 3L+N+PE | Walther | W130 |  |  | EA | 25 | 3
290 | Socket | 778900007 | Fiche mobile, CEE type, 400V, 32A IP44, 3L+N+PE | Plug, 400V 32A, CEE type IP44, 3L+N+PE | Walther | W230 |  |  | EA | 25 | 3
291 | Board | 822210064 | tabl. app. 1x6, porte, IP65, p. presse ét. 302x310x151mm | DISTR. BOARD, surf.1x6,door, IP65, f. gland, 302x310x151mm | Hager | VE106A |  |  | EA | 35 | 4
292 | Board | 822210134 | tabl. app. 1x12, porte, IP65, p. presse ét. 302x310x151mm | DISTR. BOARD, surf.1x12,door, IP65, f. gland, 302x310x151mm | Hager | VE112AK |  |  | EA | 15 | 1
293 | Board | 822220244 | tabl. app. 2x12, porte, IP65, p. presse ét. 427x310x151mm | DISTR. BOARD, surf.2x12,door, IP65, f. gland, 427x310x151mm | Hager | VE212AK |  |  | EA | 22 | 2
294 | Board | 822230374 | tabl. app. 3x12, porte, IP65, p. presse ét. 552x310x151mm | DISTR. BOARD, surf.3x12,door, IP65, f. gland, 552x310x151mm | Hager | VE312AK |  |  | EA | 17 | 2
295 | Board | 822210184 | tabl. app. 1x18, porte, IP65, p. presse ét. 302x418x151mm | DISTR. BOARD, surf.1x18,door, IP65, f. gland, 302x418x151mm | Hager | VE118AK |  |  | EA | 28 | 3
296 | Board | 822220364 | tabl. app. 2x18, porte, IP65, p. presse ét. 452x418x151mm | DISTR. BOARD, surf.2x18,door, IP65, f. gland, 452x418x151mm | Hager | VE218AK |  |  | EA | 27 | 3
297 | Board | 822230544 | tabl. app. 3x18, porte, IP65, p. presse ét. 302x418x151mm | DISTR. BOARD, surf.3x18,door, IP65, f. gland, 302x418x151mm | Hager | VE318AK |  |  | EA | 31 | 3
298 | Board | 822320219 | mini tabl. app. IP30, sans porte, 1x4, 80x130x57mm | mini DISTR. BOARD, surf.IP30, no door, 1x4, 80x130x57mm | Schneider | 13394 |  |  | EA | 12 | 1
299 | Board | 822330219 | mini tabl. app. IP30, sans porte, 1x6, 80x130x57mm | mini DISTR. BOARD, surf.IP30, no door, 1x6, 80x130x57mm | Schneider | 13396 |  |  | EA | 17 | 2
300 | Board | 822014109 | tabl. app, sans porte, IP30, 1x13, 252x250x108 | DISTR. BOARD, surf. IP30, no door, 1x13, 252x250x108 | Schneider | R9H13601 |  |  | EA | 17 | 2
301 | Board | 822024109 | tabl. app, sans porte, IP30, 2x13, 252x375x108 | DISTR. BOARD, surf. IP30, no door, 2x13, 252x375x108 | Schneider | R9H13602 |  |  | EA | 20 | 2
302 | Board | 822034109 | tabl. app, sans porte, IP30, 3x13, 252x500x108 | DISTR. BOARD, surf. IP30, no door, 3x13, 252x500x108 | Schneider | R9H13603 |  |  | EA | 18 | 1
303 | Board | 822044109 | tabl. app, sans porte, IP30, 4x13, 252x625x108 | DISTR. BOARD, surf. IP30, no door, 4x13, 252x625x108 | Schneider | R9H13604 |  |  | EA | 15 | 1
304 | Board | 822011509 | tabl. app, sans porte, IP30, 1x18, 357x250x108 | DISTR. BOARD, surf. IP30, no door, 1x18, 357x250x108 | Schneider | R9H18601 |  |  | EA | 24 | 2
305 | Board | 822021509 | tabl. app, sans porte, IP30, 2x18, 357x375x108 | DISTR. BOARD, surf. IP30, no door, 2x18, 357x375x108 | Schneider | R9H18602 |  |  | EA | 32 | 3
306 | Board | 822031509 | tabl. app, sans porte, IP30, 3x18, 357x500x108 | DISTR. BOARD, surf. IP30, no door, 3x18, 357x500x108 | Schneider | R9H18603 |  |  | EA | 21 | 2
307 | Board | 822041509 | tabl. app, sans porte, IP30, 4x18, 357x625x108 | DISTR. BOARD, surf. IP30, no door, 4x18, 357x625x108 | Schneider | R9H18604 |  |  | EA | 11 | 1
308 | Board | 822910149 | porte pour tabl. app. transp. 1x13, 252x250x108 | door for distr. board, surf. transp. 1x13, 252x250x108 | Schneider | R9H13425 |  |  | EA | 10 | 1
309 | Board | 822920149 | porte pour tabl. app. transp. 2x13, 252x375x108 | door for distr. board, surf. transp. 2x13, 252x375x108 | Schneider | R9H13426 |  |  | EA | 15 | 1
310 | Board | 822930149 | porte pour tabl. app. transp. 3x13, 252x500x108 | door for distr. board, surf. transp. 3x13, 252x500x108 | Schneider | R9H13427 |  |  | EA | 15 | 1
311 | Board | 822940149 | porte pour tabl. app. transp. 4x13, 252x625x108 | door for distr. board, surf. transp. 4x13, 252x625x108 | Schneider | R9H13428 |  |  | EA | 15 | 1
312 | Board | 822911149 | porte pour tabl. app. transp. 1x18, 357x250x108 | door for distr. board, surf. transp. 1x18, 357x250x108 | Schneider | R9H18425 |  |  | EA | 15 | 1
313 | Board | 822921149 | porte pour tabl. app. transp. 2x18, 357x375x108 | door for distr. board, surf. transp. 2x18, 357x375x108 | Schneider | R9H18426 |  |  | EA | 25 | 2
314 | Board | 822931149 | porte pour tabl. app. transp. 3x18, 357x500x108 | door for distr. board, surf. transp. 3x18, 357x500x108 | Schneider | R9H18427 |  |  | EA | 10 | 1
315 | Board | 822941149 | porte pour tabl. app. transp. 4x18, 357x625x108 | door for distr. board, surf. transp. 4x18, 357x625x108 | Schneider | R9H18428 |  |  | EA | 15 | 1
316 | Board | 824982024 | Barre DIN 35 x 7.5 mm, 300 mm | DIN rail 35 x 7.5 mm, 300mm | Swibox | BDR3530 |  |  | EA | 20 | 2
317 | Board | 824982064 | Barre DIN 35 x 7.5 mm, 800 mm | DIN rail 35 x 7.5 mm, 800mm | Swibox | BDR3580 |  |  | EA | 29 | 3
318 | Board | 822900924 | Bande recouvr. Pour tabl., 54 x 219 mm, plastic | blanking cover for DB 54x 219 mm, plastic | Hager | S35S |  |  | EA | 80 | 8
319 | Board | 158003051 | Barrette bornes, N, rail DIN, 1x25 +12x1.5-16mm | N-Busbar, DIN rail, 1x25 +12x1.5-16mm | Legrand | 004844 |  |  | EA | 70 | 7
320 | Board | 158003061 | Barrette bornes, terre, rail DIN, 1x25 +12x1.5-16mm | Earth Busbar, DIN rail, 1x25 +12x1.5-16mm | Legrand | 004834 |  |  | EA | 60 | 6
321 | Board | 158110337 | Borne de passage, 6 mm², gris | terminal block, 6 mm², grey | Wooertz | 3452/6 GR |  |  | EA | 100 | 10
322 | Board | 158110357 | Borne de passage, 6 mm², bleu | terminal block, 6 mm², blue | Wooertz | 3452/6 BL |  |  | EA | 100 | 10
323 | Board | 158110347 | Borne de passage, 6 mm², terre | terminal block, 6 mm², earth | Wooertz | 3452/6 E |  |  | EA | 100 | 10
324 | Board | 158128337 | Paroi fermeture pour borne de passage 6mm | endcover for terminal block 6mm | Woertz | 3516 |  |  | EA | 150 | 15
325 | Board | 158110537 | Borne de passage, 16 mm², gris | terminal block, 16 mm², grey | Wooertz | 3452/16 GR |  |  | EA | 115 | 12
326 | Board | 158110557 | Borne de passage, 16 mm², bleu | terminal block, 16 mm², blue | Wooertz | 3452/16 BL |  |  | EA | 115 | 12
327 | Board | 158110567 | Borne de passage, 16 mm², terre | terminal block, 16 mm², earth | Wooertz | 3452/16 E |  |  | EA | 115 | 12
328 | Board | 158118337 | Paroi fermeture pour borne de passage 16mm | endcover for terminal block 16mm | Woertz | 3464 |  |  | EA | 150 | 15
329 | Board | 158110637 | Borne de passage, 35 mm², gris | terminal block, 35 mm², grey | Wooertz | 3452/35 GR |  |  | EA | 195 | 19
330 | Board | 158110657 | Borne de passage, 35 mm², bleu | terminal block, 35 mm², blue | Wooertz | 3452/35 BL |  |  | EA | 175 | 17
331 | Board | 158110667 | Borne de passage, 35 mm², terre | terminal block, 35 mm², earth | Wooertz | 3452/35 E |  |  | EA | 175 | 17
332 | Board | 158118537 | Paroi fermeture pour borne de passage 35mm | endcover for terminal block 35mm | Woertz | 30785 |  |  | EA | 200 | 20
333 | Board | 158841337 | Borne à boulon M10, con. à cosses 95-150mm², gris | terminal block, bolt M10, for lugs 95-150mm², grey | Wooertz | 30286 M10 GR |  |  | EA | 94 | 9
334 | Board | 158841357 | Borne à boulon M10, con. à cosses 95-150mm², bleu | terminal block, bolt M10, for lugs 95-150mm², bleu | Wooertz | 30287 M10 BL |  |  | EA | 82 | 8
335 | Board | 158870037 | Paroi séparation pour borne M10 (nécessaire) | separator for terminal block M10 (necessary for above) | Wooertz | W3497 M5 |  |  | EA | 165 | 16
336 | Tools | 983222265 | Pince sertissage p.manch./ cosses non ins., 0.5-16mm² | crimp tool, for non insulated lugs/conn. 0.5-16mm² | Klauke | K25 |  |  | EA | 15 | 1
337 | Tools | 983222355 | Pince sertissage p.manch./ cosses non ins., 25-150mm² | crimp tool, for non insulated lugs/conn. 25-150mm² | Klauke | K09 |  |  | EA | 15 | 1
338 | Tools | 983221299 | Pince pour Embout de câble 0.25 - 16 mm | ferrule (wire end sleeve) Crimping pliers 0.25 - 16 mm | Knipex | 97 72 180 |  |  | EA | 15 | 1
339 | Tools | 983223259 | Pince pour Embout de câble 10 - 50 mm | ferrule (wire end sleeve) Crimping pliers 10 - 50 mm | Klauke | WZ AE 90-50 |  |  | EA | 15 | 1
340 | Tools | 983041050 | Cisaille p.câbles,isolée Ø20mm | Cable shears, insulated for cables Ø20mm | Cimco | 120340 |  |  | EA | 15 | 1
341 | Tools | 983041000 | Cisaille p.câbles,isolée Ø10mm | Cable shears, insulated for cables Ø10mm | Cimco | 120341 |  |  | EA | 15 | 1
342 | Tools | 983152186 | Mèche à pierre, mét.dur, 6x100mm | drillbit for concrete 6mm, 100mm long | Egli Fischer | C 25.104 |  |  | EA | 31 | 3
343 | Tools | 983152316 | Mèche à pierre, mét.dur, 8x120mm | drillbit for concrete 8mm, 120mm long | Egli Fischer | C 25.108 |  |  | EA | 66 | 7
344 | Tools | 983152436 | Mèche à pierre, mét.dur, 10x120mm | drillbit for concrete 10mm, 120mm long | Egli Fischer | C 25.156 |  |  | EA | 29 | 3
345 | Tools | 983152258 | SDS Mèche à pierre, mét.dur, 6x115mm | SDS drillbit for concrete 6mm, 115mm long | EFCO | D08305 |  |  | EA | 16 | 1
346 | Tools | 983152368 | SDS Mèche à pierre, mét.dur, 8x115mm | SDS drillbit for concrete 8mm, 115mm long | EFCO | D08317 |  |  | EA | 16 | 1
347 | Tools | 983153158 | SDS Mèche à pierre, mét.dur, 8x400mm | SDS drillbit for concrete 8mm, 400mm long | EFCO | D08323 |  |  | EA | 57 | 5
348 | Tools | 983152528 | SDS Mèche à pierre, mét.dur, 10x165mm | SDS drillbit for concrete 10mm, 165mm long | EFCO | D08326 |  |  | EA | 34 | 3
349 | Tools | 983153318 | SDS Mèche à pierre, mét.dur, 12x400mm | SDS drillbit for concrete 12mm, 400mm long | EFCO | D08339 |  |  | EA | 19 | 1
350 | Tools | 983153338 | SDS Mèche à pierre, mét.dur, 12 x 1000 mm | SDS drillbit for concrete 12 x 1000 mm long | EFCO | D08341 |  |  | EA | 10 | 1
351 | Tools | 983229799 | Scie de cloche, set, 17/20/25/33/41/50/65/83 mm | Hole saw set, 17/20/25/33/41/50/65/83 mm | Marvel | MK4 |  |  | EA | 50 | 5
352 | Tools | 983154810 | Mèche conique, étages,M12 - M40 | step drill, M12 - M40 | CIMCO | 201209 |  |  | EA | 17 | 1
353 | Tools | 173604920 | Étiqueteuse, 3..5-12mm tape, ac + batterie | Label maker, 3..5-12mm tape, ac + battery | Brother | PT-D200VP |  |  | EA | 16 | 1
354 | Tools | 173708330 | Bande 12mm, noir / blanc, 8m | Labeling tape, 12mm, black/white, 8m | Brother | TZE-FX231 |  |  | EA | 99 | 9
355 | Tools | 173704670 | Bande 12mm, blanc / rouge, 8m | Labeling tape, 12mm, white/red, 8m | Brother | TZE-435 |  |  | EA | 75 | 7
356 | Tools | 983301929 | Indicateur tension LVD2 Fluke, dét. sans contact | contactless voltage test pin (indicates life wires) | FLUKE | LVD2 |  |  | EA | 22 | 2
357 | Tools | 980257059 | Pince multimètre, AC/DC 400A,Voltage, Ohm, temp | Clampmeter, AC/DC 400A,Voltage, Ohm,temp, | FLUKE | 325 |  |  | EA | 16 | 1
358 | Tools | 980669129 | Caméra thermique, -10 - 500°C | thermal camera, -10 - 500°C | Amprobe | IRC-110-EUR |  |  | EA | 17 | 1
359 | Tools | 983470001 | Télémètre laser, max 80m | laser distance meter, max 80m | RunpoMeter | 10108 |  |  | EA | 16 | 1
360 | Tools | 983306229 | Testeur differentiel 2+ p.T12,13,23 CATIII 300V | RCD tester e.FI Testy 2+ p.T12,13,23 CATIII 300V | Elbro Testy 2+ | U 93255/3 |  |  | EA | 15 | 1
361 | Tools | 980134019 | Pince ampèremétrique de courant de fuite AMPROBE AC50A | AMPROBE AC50A leakage current clampmeter | Amprobe | U A 7402/1 |  |  | EA | 17 | 1
362 | Tools | 980430519 | Testeur multifunction Fluke 1663 | FLUKE 1663, multifunction intsllation tester | Fluke | 4547010 |  |  | EA | 17 | 1
363 | Tools | 980930139 | Set de mesure de mise à la terre Fluke ES165X (pour Fluke 1663) | Fluke ES165X Grounding Measuring Set (for Fluke 1663) | Fluke | 2104706 |  |  | EA | 17 | 1
364 | Tools | 980920019 | Câble d'essai Elbro SK-2 pour multimétre | test leads for multimeters | Elbro | SK2 |  |  | EA | 13 | 1
365 | Tools | 983367909 | Bâton de colle, 150x7mm, 16pcs | glue sticks 150x7mm, 16 pcs | Steinel | 983367909 |  |  | EA | 21 | 2
366 | Tools | U 602320500 | Perceuse batt. 2x2Ah liion, mèche max 10mm, | Battery drill, drillbit max 10mm, 2x2Ah LiIon, | Metabo | U602320500 |  |  | EA | 11 | 1
367 | Tools | U 600697860 | Perc. marteau 230V, SDS, incl. Mèche 5-14mm+burin | imp.drill.machine, 230V, SDS, incl bits 5-14mm+chisel | Metabo | U600697860 |  |  | EA | 19 | 1
368 | Tools | 983339415 | Support magnétique pour bits | magnetic screwbit holder for battery drill | Klauke | KL290 |  |  | EA | 10 | 1
369 | Tools | 983373030 | sacoche d'outils | toolbag, to carry around hip | CIMCO | 17 5112 |  |  | EA | 11 | 1
370 | Tools | 983379000 | Ceinture pour sacoche d'outils | belt for toolbag | CIMCO | 17 0782 |  |  | EA | 11 | 1
371 | Tools | 983392239 | Coffret assort. vide, 340x260x57mm, 15 casiers | Assort. Box, empty,340x260x57mm, 15 comp. | CIMCO | 412987 |  |  | EA | 15 | 1
372 | Tools | 980910399 | Sacoche pour accessoires Fluke avec 2 poches, 180x100x25mm | Fluke accessory bag with 2 pockets, 180x100x25mm | Fluke | U F C75 |  |  | EA | 10 | 1
373 | Tools | 983368419 | Décapeur thermique, 230V, 1600W, 500°C | Hot Air gun, 1600W, 500°C | Steinel | 70385 |  |  | EA | 15 | 1
374 | Tools | 983062119 | Tire-fils en nylon l.10m avec ressort-pilote | wire pulle (fish tape), nylon, 10m, | Stenio Dozio | 4219.10 |  |  | EA | 27 | 2
375 | Tools | 983226959 | cle universelle pour armoires electrique, 8 diff. clés | universal key for electric boxes, 8 different keys | SuBMaker Quadro | U650100 |  |  | EA | 10 | 1
376 | Security | U 1101/9 | Gants de travail, taille L | working gloves, size L | - | 7100089284 |  |  | EA | 165 | 16